Atlas Medical Software is a division
of Atlas Development Corporation

Atlas LabWorks® 16.0.0

Auto-Printing Overview

Contents

1	Introduction	1

1.1	Auto-Print Architecture	1

1.2	Auto-Printer Executables	1

1.2.1	Background Printer (BGP)	1

1.2.2	Atlas Auto-Printer (AAP)	1

1.3	Document Organization	2

2	Auto-Printing Reports	2

2.1	Adding a Report to the Queue	2

2.2	Enabling Auto-Printing	2

2.2.1	Primary Configuration	2

2.2.2	Configuring Auto-Printing by Location	3

2.2.3	Site Type Configuration	3

2.2.4	Auto-Printing Reports from Foreign Sites	4

2.2.5	Auto-Printing Reports from Thick Sites on the Central Server	4

2.2.6	Auto-Printing Forwarded Reports	4

2.2.7	Auto-Printing the Report when also printing the Cumulative Report	4

2.3	Auto-Printing Overrides	5

2.3.1	Overriding by STAT Flag	5

2.3.2	Overriding by Abnormality	5

2.4	Auto-Printing Restrictions	5

2.4.1	Restricting by STAT Flag	5

2.4.2	Restricting by Abnormality	6

2.4.3	Restricting by Lab	6

2.4.4	Restricting by Order Status	6

2.5	Auto-Printing Suppression	6

2.5.1	Suppressing by Ordering Physician	6

2.5.2	Suppressing by Ordering Account	7

2.6	Test-Level Auto-Print Control	7

2.6.1	Directory of Services Auto-Print Flag	7

2.6.2	Test Code List for Auto-Print	7

3	Printing Queued Reports	7

3.1	Printing Without Scheduled Tasks	7

3.2	Printing With Scheduled Tasks	7

3.2.1	“Print Reports” Scheduled Task	7

3.2.2	“Print Final Reports Only” Scheduled Task	8

3.2.3	Sorting Reports when Printing with Scheduled Tasks	8

3.3	Prioritizing Report Auto-Printing by Criteria	8

3.3.1	Prioritizing by STAT Flag	8

3.3.2	Prioritizing by Result Abnormality	8

3.4	Only Auto-Print Latest Report	9

3.5	Delaying Auto-Printing of Incoming Reports	9

4	Specifying Report Printers and Number of Copies	9

4.1	Defining Printer by Site	9

4.1.1	System Default Printer	9

4.1.2	Configured Default Printer	9

4.1.3	Configurable Printer Definitions	9

4.2	Defining Printer by Location	10

4.3	Defining Printer by Physician	10

4.4	Defining Additional “Off-Hours” Printers	10

4.5	Allow Printing to Default Printer	10

4.6	Defining Number of Report Copies	11

5	Report Auto-Printing Features	11

5.1	Marking Auto-Printed Reports as “Old”	11

5.2	Auto-Printing Report Deltas	11

5.3	Auto-Printing PDF Reports	11

5.4	Additional Documents which can be Auto-Printed with Reports	12

5.4.1	Exception Report	12

5.4.2	Cumulative Report	12

5.4.2.1	Result List Template for Auto-Printing Cumulative Reports	13

5.4.2.2	Auto-Print Latest Cumulative Report	13

5.4.3	Summary Report	13

6	Auto-Printing Other Document Types	13

6.1	Cancel Test (Thick Clients Only)	13

6.2	Specimen Labels	13

6.2.1	Auto-Print Default Label Printer	13

6.2.2	Defining Label Printer by Location	13

6.2.3	Auto-Print Label Copies	14

6.2.4	Specimen Labels for Manually Performed Orders	14

6.2.5	Specimen Labels for ES Orders	15

6.2.6	Specimen Labels for PSC Orders	15

6.2.7	Time Delay before Specimen Labels are Auto-Printed	16

6.3	Requisitions	16

6.3.1	Auto-Print Default Requisition Printer	16

6.3.2	Defining Auto-Print Requisition Printer by Location	16

6.3.3	Auto-Print Requisition Copies	16

6.3.4	Requisitions for Manually Performed Orders	16

6.3.5	Requisitions for ES Orders	17

6.3.6	Requisitions for PSC Orders	18

6.3.7	Time Delay before Requisitions are Auto-Printed	18

6.4	ABNs	18

6.4.1	Auto-Print Default ABN Printer	18

6.4.2	Defining Auto-Print ABN Printer by Location	18

6.4.3	Auto-Print ABN Copies	18

6.4.4	Auto-Print ABNs for Manually Performed Orders	19

6.4.5	ABNs for ES Orders	19

6.4.6	ABNs for PSC Orders	20

6.5	Manifests for Auto-Transmitted Orders	20

6.6	Mobile PDF Documents	20

7	Auto-Printer User Login Configuration	20

8	Monitoring Auto-Printing From LabWorks	21

8.1	Auto-Print Locking Status Page	21

8.2	Auto-Print Print Queue Page	22

8.3	Auto-Print Registrations	24

8.4	Auto-Print Status Monitor Page	27

9	Scheduling Auto-Printing Tasks	28

10	Setting the Auto-Printer Executable	29

11	Atlas Auto-Printer (AAP) Configuration	30

11.1	Internet Explorer (IE) Browser Configuration	30

11.1.1	Print Control Requirement	30

11.2	Installing the AAP Client	30

11.2.1	.NET Framework Requirement	30

11.2.2	Disabling User Account Control (UAC) on Windows Vista/7	31

11.2.3	Installing AAP with an MSI File	31

11.2.3.1	Running the MSI	31

11.2.3.2	Starting the AAP	35

11.2.4	Upgrading from the BGP with the AAP Auto Updater	35

11.2.4.1	Invoking the Auto Update Process	36

11.3	Configuring the AAP	39

11.3.1	The AAP Admin Dialog	40

11.3.1.1	Selecting Sites and Locations to Process	40

11.3.1.2	Selecting Document Types to Process	42

11.3.1.3	LabWorks Document Types	43

11.4	Monitoring the AAP Client	44

11.4.1	Showing the AAP Viewer Window	44

11.5	The AAP Auto Updater	46

11.5.1	Upgrading the AAP to a new Version	46

11.5.1.1	AAP Auto Updater – Prompted Mode	46

# Introduction

This document describes the Auto-Printing functionality of Atlas LabWorks® version 16.0.0.  Previous versions of Atlas LabWorks® will employ a subset of this configuration.  Auto-Printing is performed using the combination of Atlas LabWorks® system configurations, Atlas LabWorks® data, and individually configured Auto-Printer executables.

## Auto-Print Architecture

Auto-printing works in a client-server architecture.  Reports needing to be Auto-Printed are queued by the background job on the LabWorks Central Server.    The Auto-Printer client executable then queries the LabWorks web server for any reports in the queue, and prints them.  The report is then removed from the queue on the server.

The Auto-Printer executable can be run on the Central Server or, more commonly, on thin client workstations at sites wishing to Auto-Print reports.

## Auto-Printer Executables

### Background Printer (BGP)

This is the original LabWorks Auto-Print executable, and the only one used by clients running versions of LabWorks prior to 10.0.0.  The BGP can still be used with the latest versions of LabWorks as of this writing, but clients upgrading to versions 10.0.0 and above are advised to upgrade to the new Auto-Print executable when convenient.

Note:	Atlas also highly recommends converting sites from BGP to AAP.

### Atlas Auto-Printer (AAP)

The AAP is the new Auto-Printer client executable, intended to replace the BGP for new and upgrading LabWorks systems.  The AAP has several advantages over the BGP, including:

Centralized configuration, allowing control of the Auto-Printer client behavior from within LabWorks, rather than requiring modification of files on the hosting computer.

Reduced maintenance.  The AAP design relies less heavily on the client-side executable programs and more on code hosted on the LabWorks web server.  This means that software updates will less often require installing new files on the client machines.  When client-side updates are required, the AAP Auto-Updater simplifies this process.

Improved efficiency.  The AAP requires fewer page requests from the LabWorks web server when processing documents, resulting in faster printing and less load on the LabWorks web and central servers, benefitting the application as a whole.

Greater flexibility.  The AAP allows location-level configuration of Auto-Printing, so a site with multiple locations can have their own dedicated Auto-Printers.

Note:	Users of LabWorks should be aware that AAP will only work if the computer on which AAP is installed is turned on and AAP is actively running. If the computer is turned off overnight, AAP will print all accumulated reports that would otherwise have printed once AAP is restarted.

## Document Organization

This document is organized into two parts.

Part one covers the server-side Auto-Print configuration.  Most of the server-side configuration is unaffected by whether the BGP or AAP is used for the Auto-Printing client program.  Those new configurations that apply only to the AAP are placed together in their own section.

Part two covers the client-side Auto-Print configuration.  The AAP is discussed separately in its own section.

Part I: Server-Side Auto-Print Configuration

The server-side Auto-Print configuration determines which reports/labels get Auto-Printed, which printer(s) they print to, how many copies are printed, and when they print.  The configurations used to control these decisions are discussed in this part of the document.

# Auto-Printing Reports

## Adding a Report to the Queue

Reports are added to the Auto-Printer queue by logic executed by the background job when HL7 results are read into LabWorks.  This logic is driven by many configurations and other data, and can result in a report not getting printed, or being printed to one or many different printers.

## Enabling Auto-Printing

### Primary Configuration

Report Auto-Printing is primarily enabled by configuration parameter #52 “Report Auto-Print Options”.  The possible values for this config are:

| Value | Function |
| --- | --- |
| Always | All reports will be added to the Auto-Printing Queue, regardless of their status. |
| Final/Corr. per Lab | Reports with a “Final” or “Corrected” status will be Auto-Printed only when all tests for a specific lab have been resulted. |
| Final/Corrected | Only reports with a “Final” or “Corrected” status will be Auto-Printed. |
| Never | Do not add any reports to the Auto-Printer Queue, regardless of report status. |

The default setting of this configuration parameter is “Always”.

This config provides the baseline evaluation criteria for when reports are Auto-Printed, but several other configuration parameters can override this setting, depending on various criteria.  These additional configurations are described below.

### Configuring Auto-Printing by Location

The setting of CNF #52 "Report Auto-Printing Options" can be set per location by selecting an "Auto-Print Options" choice from the definition of the location on the Locations page.  This control offers the following choices:

| Value | Function |
| --- | --- |
| Use Site Default | Do not override other Auto-Printing settings. This is the default option. |
| Never | No reports for orders placed by the selected location will be added to the Auto-Print Queue. |
| Always | Reports for orders placed by the selected location will always be added to the Auto-Print Queue. |
| Final/Corrected | Only reports with statuses of “Final” or “Corrected” for orders placed by the selected location will be added to the Auto-Print Queue. |

### Site Type Configuration

An additional configuration parameter must be set to enable Auto-Printing, based on the site type.

To enable Auto-Printing for a thin site, configuration parameter #2273, “Auto-Print Reports (CS)” must be set to “True.”  The default value of this config is “False.”

### Auto-Printing Reports from Foreign Sites

If a site receives a report via the “Copy-To” feature that was originally sent to another site, then an additional configuration parameter controls whether that report will be added to the Auto-Print Queue for the site.

For thin sites, if configuration parameter #4662 “Print Reports Of Foreign Sites(Thin)” is set to “Yes,” and the report is copied from a foreign site, then the report will be added to the Auto-Print Queue.  The default setting of this config is "Yes."

### Auto-Printing Forwarded Reports

If configuration parameter #3516, “Auto Print Forwarded Report” is set to “True,” all forwarded reports will be added to the Auto-Print Queue.  The default value of this config is "False."

### Auto-Printing the Report when also printing the Cumulative Report

If configuration parameter #252, “Auto-Print Cumulative Reports” (discussed later in this document) has been set to activate cumulative report printing, then if configuration parameter #2514, “Auto-Print Even If First Patient Result” is set to “True,” then only the cumulative report will be printed, and not the report.  If CNF #252 is set and CNF #2514 is set to “False”, then both the report and the cumulative report will print.  The default value of this config is “False.”

## Auto-Printing Overrides

Auto-Print Overrides are configuration parameters that cause reports to be added to the Auto-Print Queue, even when the setting of CNF #52, “Report Auto-Print Options” would normally prevent them from Auto-Printing.

### Overriding by STAT Flag

The settings of CNF #52 "Report Auto-Print Options" can be overridden for reports for STAT orders by setting configuration parameter #2475, "Auto-Print Override - STAT Orders" to "True."  This will allow reports for STAT orders to be added to the Auto-Printing Queue regardless of the report status.  The default value of this config is "False".

### Overriding by Abnormality

Configuration parameter #2481 "Auto-Print Override - Result Value" offers several choices to override the Auto-Printing behavior defined by CNF #52 "Report Auto-Print Options" based on the abnormality levels of results in the report.  The choices include:

| Value | Function |
| --- | --- |
| Abnormals Only | Add the report to the Auto-Printing Queue if the report contains any abnormal result values. |
| Criticals Only | Add the report to the Auto-Printing Queue only if the report contains critical result values. |
| No Override | Do not override Auto-printing settings based on result abnormality. This is the default setting of this config. |
| Normal Only | Add the report to the Auto-Printing Queue if the report does not contain any abnormal result values. |

## Auto-Printing Restrictions

Auto-Print Restrictions are configuration parameters that prevent reports from being added to the Auto-Print Queue, even when the setting of CNF #52 “Report Auto-Print Options” would normally cause them to Auto-Print.

### Restricting by STAT Flag

You can restrict Auto-Printing to only include reports for STAT orders by setting configuration parameter #2480 "Auto-Print Restriction - STAT Orders" to "True."  This config Works in combination with CNF #52 "Report Auto-Print Options."  The default setting for this config is "False".

### Restricting by Abnormality

Configuration parameter #2156 "Auto-Print Restriction - Result Value" offers several choices to restrict Auto-Printing to include reports of certain abnormality values. This config works in combination with CNF #52 "Report Auto-Printing Options".  The choices for this config include:

| Value | Function |
| --- | --- |
| Abnormals Only | Restrict Auto-Printing to only include reports that contain at least one abnormal result value. |
| Criticals Only | Restrict Auto-Printing to only include reports that contain at least one critical result value. |
| No Restriction | Do not restrict Auto-Printing based on result abnormality. This is the default setting of this config. |
| Normals Only | Restrict Auto-Printing to only include reports that do not contain any abnormal result values. |

### Restricting by Lab

You can restrict Auto-Printing to only include reports for particular labs by using configuration parameter #3531 "Report Auto-Print Lab List" to set a comma delimited list of lab IDs.  Only reports for the listed labs will be included in the Auto-Print Queue.  This config is blank by default, which will not restrict Auto-Printing for any labs.

### Restricting by Order Status

When configuration parameter #3707 “Auto-Print Report with Final Order” has been set to “True”, then only reports where the associated order has a status of “Final,” “Cancelled,” or “Corrected” will be added to the Auto-Print queue.  The default value of this config is “False”.

## Auto-Printing Suppression

For reports that would normally be printed otherwise, reports can be suppressed based on these options.

### Suppressing by Ordering Physician

By checking the "Suppress Auto-Print Reports" check box on the Physicians page for a selected physician, reports for orders placed by that physician will not be added to the Auto-Print Queue.

Auto-Printing can also be suppressed for inactive physicians if configuration parameter #5221 “Suppress Auto-Print for Inactive Phys” has been set to True. Reports for orders placed by inactive physicians will not be added to the Auto-Print Queue when this config is set to True.

### Suppressing by Ordering Account

By checking the "Suppress Auto-Print Reports" check box on the Accounts page for a selected account, reports for orders placed by that account will not be added to the Auto-Print Queue.

## Test-Level Auto-Print Control

### Directory of Services Auto-Print Flag

There is a test-level field in the Directory of Services labeled “Auto-print of Report.”  The meaning of this field when it has been checked for a test is determined by configuration parameter #2568 “Test Force Auto-Print Flag Behavior.”  This flag can be used to prevent partial reports from printing, or force partial reports to print, when the setting of CNF #52 "Report Auto-Print Options" would normally prevent this.

### Test Code List for Auto-Print

Configuration parameter #3253 “Test Code List for LRs to Autoprint” can be used to specify that only certain tests should be Auto-Printed.  If this configuration parameter has been valued, then only reports with orders with one of these tests on it will be Auto-Printed.

# Printing Queued Reports

There are two main options for when queued reports are Auto-Printed:  Print them immediately when they arrive in the queue, or print them at scheduled times.

## Printing Without Scheduled Tasks

If no “Print Reports” scheduled tasks are defined for the site, then reports will print continuously as they are added to the Auto-Print Queue.

## Printing With Scheduled Tasks

If any “Print Reports” scheduled tasks are defined, then the Auto-Printer will wait until the scheduled task times to print reports.  However, additional configuration parameters allow certain reports to be “prioritized” for immediate printing.

### “Print Reports” Scheduled Task

From the Task Scheduler page, you can set up “Print Reports” scheduled tasks.  Scheduled Tasks can be defined to only print the reports for only specific Locations, or only specific Service Providers.  The “Print Report” task will print all reports that are in the queue at the time the scheduled task starts, which meet the selected criteria.  Note that any documents that arrive in the background print queue after the scheduled task start time will not be printed until the next scheduled task occurs.

If for any reason the Auto-Printer is not running at the scheduled task run time, then the task will remain in scope for the period of time called the “Window of Opportunity”, defined by an Auto-Print parameter; this is normally 1 hour.  Thus, if the Auto-Printer is started within this time period after the scheduled printing time, then all of the reports that were in queue at the scheduled time will still be printed.  If the Auto-Printer is not started until after the Window of Opportunity has passed, then the scheduled task will be updated as having been run, without printing any reports.

### “Print Final Reports Only” Scheduled Task

You can additionally define "Print Final Reports Only" scheduled tasks to selectively Auto-Print queued reports with a status of “Final” or “Corrected” with higher frequency throughout the day.  This scheduled task is intended to be used in conjunction with the standard "Print Reports" scheduled task.

### Sorting Reports when Printing with Scheduled Tasks

By setting configuration parameter 3671 “Sort Auto-Printed Reports” lab reports printed by a scheduled task will be collected and sorted before printing. The choices for this config include:

| Value | Function |
| --- | --- |
| Chart # / MRN | Reports will be sorted based on the Chart # (MRN) on the report. |
| Physician, Patient | Reports are first grouped by physician and then sorted by patient name. |
| Never | Reports will not be sorted at all, and will be printed in the order in which they were received. |

## Prioritizing Report Auto-Printing by Criteria

### Prioritizing by STAT Flag

Queued reports for STAT orders will be Auto-Printed immediately upon receipt when configuration parameter #2731 "Print Stat Order without Task Schedule" is set to “True”.

### Prioritizing by Result Abnormality

Queued reports with abnormal results will be Auto-Printed immediately upon receipt if the results of the report meet the choice set by configuration parameter #3390 "Auto Print Abnormal Reports Immediately".  This config has the following choices:

| Value | Function |
| --- | --- |
| Abnormal | All reports with abnormal result values will be printed immediately upon receipt. |
| Critical Only | All reports with critical result values will be printed immediately upon receipt. |
| No | Do not prioritize report Auto-Printing by result abnormality. This is the default choice of the config. |

## Only Auto-Print Latest Report

If configuration parameter #2605 “Print Latest Report” is set to “True”, and multiple result messages have been received for the same order such that multiple reports have been added to the Auto-Print Queue for that order, then only the latest report for the order will be Auto-Printed. The default setting of this config is "False".

## Delaying Auto-Printing of Incoming Reports

Configuration parameter #3524 “Time Delay For Auto-Print Report” can be used to set a specific time in seconds to wait after reports have been received before they are Auto-Printed. This configuration parameter works in conjunction with CNF #2605 “Print Latest Report”, by allowing time for multiple result messages to be processed for an order before Auto-Printing occurs, so only the final report for the order is printed with all the results. The default value of this config is zero.

# Specifying Report Printers and Number of Copies

Several configurations and data fields are used to determine the printer name for Auto-Printing reports.  The printer(s) specified for Auto-Printing a report are denormalized when the report is added to the queue.

## Defining Printer by Site

### System Default Printer

If no printer is specified, then the Auto-Printer will print to the default printer on the machine hosting the Auto-Printer, providing that configuration parameter #3681 “Allow Auto-Print to Default Printer” is set to “True”.  The default printer is determined when the report is actually printed.

### Configured Default Printer

Configuration parameter #3261 “Default Printer” can be used to define a specific default printer, in place of the machine default printer.

### Configurable Printer Definitions

Configuration Parameter #2531 “Report Printer Name” can be used to set a free-text printer name per site.  This will override the system default printer.

Configuration Parameter #2813 “Report Printer” can be used to select a printer from the printers defined in the Printers page per site.  This will override the system default printer and the printer defined by CNF #2531.

## Defining Printer by Location

You can define a printer per ordering location by setting the “Report Auto-Printer” free-text field on the Locations page.  This printer will be used for Auto-Printing reports for orders placed by the selected location only if configuration parameter #2212 “Enable Ordering by Location” is set to "Yes".  The location defined printer will override the system default printer, the printer defined by CNF #2531 "Report Printer Name", and the printer defined by CNF #2813 "Report Printer".

## Defining Printer by Physician

You can define a printer per ordering physician by setting the “Report Auto-Printer” free-text field on the Physicians page.  If the physician printer is defined, an additional copy of Auto-Printed reports ordered by the selected physician will be printed to this named printer.  If the “Do Not Use Site Defined Printer” checkbox is checked as well for the selected physician, then the report will only print to the Physician’s printer and will not print for the site defined or location defined printer.

## Defining Additional “Off-Hours” Printers

You can configurably specify an additional “off-hours” printer used to print an additional copy of the Auto-Printed report.  Configuration parameter #3687 "Auto Print Off-Hours Start Time" defines the start of the "off-hours" period, configuration parameter #3688 "Auto Print Off-Hours Period (hours)" defines the length of the "off-hours" period in hours, and configuration parameter #3689 "Auto Print Off-Hours Printer Name" determines the additional “off-hours” printer which is selected from the printers defined in the Printers page for the site.

## Allow Printing to Default Printer

If the specific printer defined for Auto-Printing a report is not available, then configuration parameter #3681 “Allow Auto-Print to Default Printer” controls whether the report is allowed to print to the default printer instead.  If this config is set to “True” (the default setting), then the report is allowed to print to the default printer when the defined printer is not available.  If this config is set to “False” and the defined printer is not available, then the report will not print, and an error will be logged.

Note that this config does not apply when no specific printer has been defined for an Auto-Print report.  In that case, it is assumed that the report should print on the default printer.

## Defining Number of Report Copies

The number of copies of the report that will Auto-Print is defined by configuration parameter #76 “Report Auto-Print Copies”.  The default value of this config is one.

# Report Auto-Printing Features

## Marking Auto-Printed Reports as “Old”

If configuration parameter #2254 “Mark as Old (Site) - Autoprint” is set to “True”, the “New” flag on the report will be cleared for the site when the report is Auto-Printed.

## Auto-Printing Report Deltas

If multiple result messages are received for a single report, you can Auto-Print just the differences between these subsequent messages by setting configuration parameter #2603 “Enable Delta Report Printing” to “True”.  You can further set configuration parameter #2691 “Print Full Report When Final” to “True”, to print all results for Auto-Printed reports with statuses of “Final” and “Corrected” when delta report printing is enabled.  By default, CNF #2603 is set to "False" and CNF #2691 is set to "True".

## Auto-Printing PDF Reports

When configuration parameter #3702 “LIS Sends PDF Report and OBX File” is set to “True”, PDF file result images can be received by LabWorks along with OBX files, to be used in place of reports rendered by Atlas LabWorks.  These PDF result images can then be Auto-Printed.

The mechanism used and configuration parameters required for Auto-Printing PDF reports differs based on the version of the Auto-Printer, and whether the Auto-Printer is running on a thin site or the central server:

For versions of BGP prior to 9.2.2.1 running for a thin site, the Auto-Printer first downloads the PDF report file to its local directory before calling a third party silent printing application called PDF-Multi-Print (PDFMP3F) to print the file.  The following configuration parameter is required for PDF report printing on a thin site:

Configuration parameter #2684 “Data Storage Directory (CS)” specifies the folder on the central server where PDF results are stored.

For versions of BGP prior to 9.2.2.1 running on the central server, the Auto-Printer prints the PDF file by calling PDFMP3F (similar to thin sites).  The following configuration parameters are required to utilize this method of PDF reporting on the central server:

Configuration parameter #2684 “Data Storage Directory (CS)”, discussed above.

Configuration parameter 2428 “Central Server Utilities Directory” specifies the folder on the central server where the PDF silent printing application (PDFMP3F) is stored.

For versions of BGP starting with 9.2.2.1, and for the AAP, the mechanism for printing PDF reports has changed.  Instead of calling a third-party application to print the PDF file itself, another third-party application (ABCpdf) is called to create a JPEG image from the PDF, which is then rendered in the browser window and printed by the browser silent printing application (similar to regular HTML reports).

The only configuration parameter required for this method is CNF #2684 “Data Storage Directory (CS)”, which specifies the folder on the central server where PDF results are stored.

## Additional Documents which can be Auto-Printed with Reports

There are several other documents which can be configurably added to the Auto-Print Queue and printed along with each report added to the Auto-Print Queue.

### Exception Report

If configuration parameter #2150 "Show Report Exception Reports" is set to "True" and a report is added to the Auto-Print Queue, the background job can check if there are any exceptions for the report and can add an Exception report request to the Auto-Print Queue.   The Exception report prints the following types of exceptions:

1.	If the order for the report was unsolicited

2.	If there is a patient name mismatch between the report and the patient data (only when configuration parameter #2611 "Include Patient Name Changes" is set to "True")

3.	If a test on the order was unsolicited

### Cumulative Report

If configuration parameter #252 “Auto-Print Cumulative Reports” is valued and a report is added to the Auto-Print Queue, a Cumulative report for the patient can also be added to the Auto-Print Queue.  The choices for CNF #252 include "Portrait" and "Landscape".  The default setting is blank.  The Cumulative report will print with the orientation defined by the config and will print to the same printer(s) as the Auto-Printed report.

#### Result List Template for Auto-Printing Cumulative Reports

Configuration parameter #2145 “Result List Template for Auto-Print Cum” determines which profile is used to sort cumulative reports that are auto-printed.  Profiles determine what results print on a cumulative report, and in what order.

#### Auto-Print Latest Cumulative Report

If configuration parameter #3935 “Auto-Print Latest Cumulative Report” is set to “True”, then only the latest cumulative report for a patient will be printed.  This configuration parameter works similarly to configuration parameter #2605 “Print Latest Report”, which was discussed in the Auto-Printing Reports section, and prevents Auto-Printing of multiple cumulative reports for the same patient when a series of OBX files are received for the patient.

### Summary Report

After a scheduled Auto-Print task completes, if configuration parameter #2729 "Print Report Summary" is set to "True", a Summary report will be printed listing all reports Auto-Printed during the scheduled task.  The Summary report includes the patient name, patient ID, order number, collected date and printed date for each report listed.  The default value of this config is "False".

# Auto-Printing Other Document Types

## Specimen Labels

Specimen labels can be Auto-Printed based on the configuration parameters described below.

### Auto-Print Default Label Printer

The default printer for Auto-Printing specimen labels is the free-text printer name defined by configuration parameter #2108 “Label Printer Name”.

### Defining Label Printer by Location

When ordering by location, the label printer used for Auto-Printing specimen labels is the one defined in the Specimen Label Printer field on the Locations page, if one has been selected.  If no label printer has been defined for the location, then the default label printer will be used, as defined by CNF #2108.

The location used for selecting the label printer for each order can be further controlled by configuration parameter #3745 “Location Specimen Label Printer”.  This config has two possible values:

| Value | Function |
| --- | --- |
| O – Ordering Location | The location used to look up the label printer is the location associated with the order itself. This is the default value of this config. |
| L – Logged in Location | The location used will be the LabWorks user’s current login session location. |

### Auto-Print Label Copies

Configuration parameter #3809 “Auto-Print Label Copies” determines the number of copies to print for each specimen label designated for Auto-Printing.  The default value of this config is 1.  If this config is set to 0, then no labels are queued for Auto-Printing, regardless of how the other configs governing specimen label Auto-Printing are set.

This config will not cause any specimen labels to be queued for Auto-Printing by itself.  In order for specimen labels to begin Auto-Printing, then additional configs must be set to invoke specimen label Auto-Printing, based on the order disposition.  These configs are discussed below.

### Specimen Labels for Manually Performed Orders

Configuration parameter #3838 “Auto-Print Labels for Manually Performed Orders” controls whether Auto-Print Queue records are created for printing specimen labels when orders are manually performed.  This config has the following choices:

| Value | Function |
| --- | --- |
| A – All Orders | Specimen labels will Auto-Print for all orders, regardless of whether they were manually performed. This will override the setting of CNF #3441 “Auto Print ES Labels”, which is discussed below. |
| M – Manually Placed Orders | Specimen labels will only Auto-Print for manually performed orders. In the case of orders placed from an External System (ES), Auto-Printing of the specimen labels is governed by CNF #3441. |
| N – No | Specimen labels will not Auto-Print for any orders, regardless of whether they were manually performed. This is the default setting for this config. |

To suppress normal specimen label printing for manually performed orders when these labels should only Auto-Print, set config #125 “Specimen Label Print Copies” to 0.

### Specimen Labels for ES Orders

When an ES order is performed, specimen labels for the ES order can be printed by the Auto-Printer.  This functionality is determined by configuration parameter #3441 “Auto Print ES Labels”, which has the following choices:

| Value | Function |
| --- | --- |
| Never | Do not Auto-Print specimen labels for ES orders. |
| Auto Perform Only | Auto-Print specimen labels only for auto-performed ES orders. |
| Manual Perform Only | Auto-Print specimen labels only for manually performed ES orders. |
| Both | Auto-Print specimen labels for all ES orders, regardless of whether they were auto-performed or manually performed. |

As mentioned in the last section, if CNF #3838 is set to “All Orders”, then the setting of CNF #3441 will be overridden.

### Specimen Labels for PSC Orders

Configuration parameter #3941 “Auto-Print Labels for PSC Orders” controls whether Auto-Print Queue records are created for printing specimen labels for PSC orders.  The default value of this config is “False”, meaning that PSC orders will not be subject to the specimen label Auto-Printing control described in the previous two sections.  When this config is set to “True”, then specimen labels for PSC orders will be queued for Auto-Printing, based on the how the order is performed in LabWorks:

If a PSC order is manually performed in LabWorks, and CNF #3941 is set to “True”, then the specimen label Auto-Printing is determined as described above in the section “Specimen Labels for Manually Performed Orders”.

If an ES order designated for PSC processing is being auto-performed, and CNF #3941 is set to “True”, then specimen labels will be Auto-Printed based on the setting of CNF #3441 “Auto Print ES Labels”, which was described in the last section.

### Time Delay before Specimen Labels are Auto-Printed

Configuration parameter #3837 “Time Delay for Auto-Print Labels (min)” can be used to set a delay time before specimen labels are Auto-Printed, after they have been added to the Auto-Print queue.  The default value of this config is 0.

## Requisitions

Requisitions can be Auto-Printed based on configuration parameters that work similarly to those for specimen labels. These configurations are described in this section.

### Auto-Print Default Requisition Printer

The default printer used for Auto-Printing requisitions is the printer defined in configuration parameter #2812 “Requisition/ABN Printer”.

### Defining Auto-Print Requisition Printer by Location

Configuration parameter #4711 “Auto Print with Location Printer for ABN and Req” can be used to activate use of the “Report Auto Printer” defined on the Locations page for Auto-Printing the Requisition.  If this config is set to “True”, then Requisition Auto-Printing will occur to the report printer defined for the location associated with the order, instead of the default printer defined by CNF #2812.  The default value of this config is “False”.

### Auto-Print Requisition Copies

Configuration parameter #3808 “Auto-Print Requisition Copies” determines the number of copies to print for each requisition designated for Auto-Printing.  The default value of this config is 1.  If this config is set to 0, then no requisitions are queued for Auto-Printing, regardless of how the other configs governing requisition Auto-Printing are set.

This config will not cause any requisitions to be queued for Auto-Printing by itself.  In order for requisitions to begin Auto-Printing, then additional configs must be set to invoke requisitions Auto-Printing, based on the order disposition.  Those configs are discussed below.

### Requisitions for Manually Performed Orders

Configuration parameter #3439 “Auto-Print Requisitions for Manually Performed Orders” controls whether Auto-Print Queue records are created for printing requisitions when orders are manually performed.  The config has the following choices:

| Value | Function |
| --- | --- |
| A – All Orders | Requisitions will Auto-Print for all orders, regardless of whether they were manually performed. This will override the setting of CNF #3440 “Auto Print ES Requisitions”, which is discussed below. |
| M – Manually Placed Orders | Requisitions will only Auto-Print for manually performed orders. In the case of orders placed from an External System (ES), Auto-Printing of the requisitions is governed by CNF #3440. |
| N - No | Requisitions will not Auto-Print for any orders, regardless of whether they were manually performed. This is the default setting for this config. |

To suppress normal requisition printing for manually performed orders, when these requisitions should only Auto-Print, set config #101 “Print Requisition After Order” to No.

### Requisitions for ES Orders

When an ES order is performed, requisitions for the ES order can be printed by the Auto-Printer.  This functionality is determined by configuration parameter #3440 “Auto Print ES Requisitions”, which has the following choices:

| Value | Function |
| --- | --- |
| Never | Do not Auto-Print requisitions for ES orders. |
| Auto Perform Only | Auto-Print requisitions only for auto-performed ES orders. |
| Manual Perform Only | Auto-Print requisitions only for manually performed ES orders. |
| Both | Auto-Print requisitions for all ES orders, regardless of whether they were auto-performed or manually performed. |

As mentioned in the last section, if CNF #3439 is set to “All Orders”, then the setting of CNF #3440 will be overridden.

### Requisitions for PSC Orders

Configuration parameter #4133 “Auto-Print Requisitions for PSC Orders” controls whether Auto-Print Queue records are created for printing requisitions for PSC orders.  Unlike CNF #3941 “Auto-Print Labels for PSC Orders”, this config is only applied during ES Auto-Perform processing – it is not applied when orders are manually performed.  When this config is set to “True”, requisitions for auto-performed PSC orders will be queued for Auto-Printing based on the setting of CNF #3440, which was described in the last section.  If this config is set to its default value of “False”, then requisitions will not be Auto-Printed for ES Auto Performed orders when they are designated for PSC processing.

### Time Delay before Requisitions are Auto-Printed

Configuration parameter #3839 “Time Delay for Auto-Print Reqs (min)” can be used to set a delay time before requisitions are Auto-Printed, after they have been added to the Auto-Print queue.  The default value of this config is 0.

## ABNs

ABNs can be Auto-Printed based on configuration parameters that work similarly to those for specimen labels and requisitions.  These configurations are described in this section.

### Auto-Print Default ABN Printer

The default printer used for Auto-Printing ABNs is the printer defined in configuration parameter #2812 “Requisition/ABN Printer”, when orders are auto-performed.  For manually performed orders, no printer is specified by default when the ABN is added to the background print queue.

### Defining Auto-Print ABN Printer by Location

Configuration parameter #4711 “Auto Print with Location Printer for ABN and Req” can be used to activate use of the “Report Auto Printer” defined on the Locations page for Auto-Printing the ABN.  If this config is set to “True”, then ABN Auto-Printing will occur at the report printer defined for the location associated with the order, instead of the default printer defined by CNF #2812.  The default value of this config is “False”.

### Auto-Print ABN Copies

Configuration parameter #3906 “Auto-Print ABN Copies” determines the number of copies to print for each ABN designated for Auto-Printing.  The default value of this config is 1.  If this config is set to 0, then no ABNs are queued for Auto-Printing, regardless of how the other configs governing ABN Auto-Printing are set.

This config will not cause any ABNs to be queued for Auto-Printing by itself.  In order for ABNs to begin Auto-Printing, then additional configs must be set to invoke ABN Auto-Printing, based on the order disposition.  Those configs are discussed below.

### Auto-Print ABNs for Manually Performed Orders

Configuration parameter #3907 “Auto-Print ABN for Manually Performed Order” controls whether Auto-Print Queue records are created for printing ABNs when orders are manually performed.  The config has the following choices:

| Value | Function |
| --- | --- |
| A – All Orders | ABNs will Auto-Print for all orders, regardless of whether they were manually performed. This will override the setting of CNF #3908 “Auto Print ES ABNs”, which is discussed below. |
| M – Manually Placed Orders | ABNs will only Auto-Print for manually performed orders. In the case of orders placed from an External System (ES), Auto-Printing of the ABNs is governed by CNF #3908. |
| N - No | ABNs will not Auto-Print for any orders, regardless of whether they were manually performed. This is the default setting for this config. |

To suppress normal ABN printing for manually performed orders, when these ABNs should only Auto-Print, set config #2785 “Auto-Print ABN” to “No”.

Note:	Configuration parameter #2785 “Auto-Print ABN” sounds like it relates to the Auto-Printing of ABNs, but this config does not apply to BGP/AAP Auto-Printing as discussed in this document.

### ABNs for ES Orders

When an ES order is performed, ABNs for the ES order can be printed by the Auto-Printer.  This functionality is determined by configuration parameter #3908 “Auto Print ES ABNs”, which has the following choices:

| Value | Function |
| --- | --- |
| Never | Do not Auto-Print ABNs for ES orders. |
| Auto Perform Only | Auto-Print ABNs only for auto-performed ES orders. |
| Manual Perform Only | Auto-Print ABNs only for manually performed ES orders. |
| Both | Auto-Print ABNs for all ES orders, regardless of whether they were auto-performed or manually performed. |

As mentioned in the last section, if CNF #3907 is set to “All Orders”, then the setting of CNF #3908 will be overridden for manually performed ES orders.

### ABNs for PSC Orders

Configuration parameter #4134 “Auto-Print ABNs for PSC Orders” controls whether Auto-Print Queue records are created for printing ABNs for PSC orders.  Unlike CNF #3941 “Auto-Print Labels for PSC Orders”, this config is only applied during ES Auto-Perform processing – it is not applied when orders are manually performed.  When this config is set to “True”, ABNs for auto-performed PSC orders will be queued for Auto-Printing based on the setting of CNF #3908, which was described in the last section.  If this config is set to its default value of “False”, then ABNs will not be Auto-Printed for ES Auto Performed orders when they are designated for PSC processing.

### Suppressing ABNs for Non-Medicare IP Types

If Configuration parameter #5200 “Suppress ABNs for Non-Medicare IP Types” is set to True, then if the order fails medical necessity, the Medical Necessity Warning dialog will not appear and Auto-Printing of the ABN will be bypassed if the provider on the order is not a Medicare provider. Although the ABN is not printed at the time of order entry, it will still be generated and the user can print it manually if desired.

## Manifests for Auto-Transmitted Orders

When orders are auto-transmitted from a thin client and configuration parameter #2357 "Auto-Print Manifests (CS)" is set to "True", then the resulting manifest will be added to the Auto-Print Queue and printed immediately.  By default this config is set to "False".  The printer used to Auto-Print the manifest is specified by configuration parameter #2814 "Manifest Printer" which can be set to a printer defined in the Printers page for the site.  If no printer is defined, the manifest will be Auto-Printed to the default printer on the machine where the Auto-Printer is installed.  The manifest will be Auto-Printed by the same Auto-Printer that is printing reports for the site.

## Mobile PDF Documents

Configuration parameter #4106 “Auto Generate Mobile PDF for Report” can be used to queue the automatic generation of Mobile PDF documents for Auto-Printing. The choices for this config include:

| Value | Function |
| --- | --- |
| Always | For each incoming lab report, a record will be added to the Auto-Print Queue for generation of a Mobile PDF document, for viewing on an iPhone. |
| HL7 Only | For each incoming lab report, the lab generated PDF will be added to the Auto-Print Queue for viewing on an iPhone. |
| Never | For each incoming lab report, no record will be added to the Auto-Print Queue for viewing on an iPhone. |

Note:	For this, you need Atlas Mobile (iPhone/iPad), which requires a separate proposal.

# Auto-Printer User Login Configuration

A LabWorks user must be created for each Auto-Printer instance to log into LabWorks with.  A unique user should be created for each instance of Auto-Print, and this user should not be used for manual user access to LabWorks; however, older versions of LabWorks would allow the same user to be used for both.

The Auto-Print user must have site access to the site(s) that the Auto-Printer will be processing documents for, or access to all sites if processing all sites.  Any security group can be assigned for the Auto-Print user, or a new security group for Auto-Print users can be created that has no access granted – this is because the Auto-Printer does not navigate the LabWorks UI when processing documents. The user should also have the “Is Auto-Printer User” check box checked.

Here is a typical Auto-Print user configuration:

Note:	If configuration parameter 3678 “Auto-Printer User Password Never Expires” is set to “True”, then the password for users with the “Auto-Printer” flag set will never expire.  The default value of this config is “False”.

# Monitoring Auto-Printing From LabWorks

This section explains the four pages in LabWorks available to manage and monitor Auto-Printing.  These pages are available in ordering sites under the System menu, and they are also available from the Auto-Printing menu in the Command and Control Center.

## Auto-Print Locking Status Page

The Auto-Print Locking Status page lists all running BGP Auto-Printers for the ordering site, or for all sites and the central server for the CCC.  This page does not apply to AAP Auto-Printers; the Auto-Print Registrations page is used instead for the AAP.

Each entry includes information documenting the host machine name and IP address, and the date and time the Auto-Printer started and last updated.

The “Exp” column indicates if the BGP session has expired, which happens if the BGP has not been updated for a period of time. Once a BGP session has expired, then another BGP may be logged in for that site.

The “Mode” column indicates any special mode the BGP session is set for.  A blank value indicates the BGP is in normal printing mode, while “FAXLR” indicates it is in auto-faxing mode.

This screen shot shows the Auto-Print Locking Status page:

## Auto-Print Print Queue Page

The Auto-Print Print Queue page lists all documents in the Auto-Printer Queue, along with the created date, document type, information about the document, the last activity date and time, the printer name, location, and status.  You can search the queue by status and created date.  You can cancel selected items or all items matching the search criteria by using the links at the bottom of the page.

Here are the different statuses that the Auto-Printer items may have, and an explanation of each one:

| Status | Explanation |
| --- | --- |
| Ready To Print | This is the initial status for all documents added to the Auto-Printer Queue. These items are ready to be processed by the Auto-Printer client. |
| Cancelled | These are documents that have been cancelled using the Cancel Print Item links on this page. These documents will not be processed by the Auto-Printer. |
| Delta Skipped | This is the special designation for Delta Reports that have been skipped. |
| Error | This status indicates that an error occurred while the document was being processed by the Auto-Printer. These documents will not be processed by the Auto-Printer. |
| Printed | This is the status set once the document has been successfully processed by the Auto-Printer, regardless of whether the document is actually being printed, faxed, or some other disposition. |
| Processing | This status indicates that the document is being processed by the Auto-Printer currently. Normally, this status does not persist for more than a minute or so and it changes once the Auto-Printer has finished processing. If a document remains processing for an extended period, it may indicate a problem with the Auto-Printer. |
| Skipped | This is the status assigned to reports and cumulative reports that have been skipped due to later versions of the report in the queue at the time the Auto-Printer was processing the document (see configuration parameters #2605 and #3935). |

Here is a screen shot of the Auto-Print Print Queue page:

## Auto-Print Registrations

This page is used to track and administer AAP Auto-Print registrations; this page is not used by BGP Auto-Printing.

An Auto-Print registration is used to track one instance of the AAP running on a client machine and is created the first time a new AAP logs into LabWorks.  A registration ID (“AAPID”) is then stored in the config file in the local directory of that client AAP instance, so that the same registration is maintained when the AAP is restarted -- this becomes a unique identifier for that instance for all time.  If another AAP instance is logged into LabWorks, then it will always receive a new registration, even if the AAP is logged in with the same LabWorks user ID and selects to print for the same site as a previous instance.

Here is a screen shot of the Auto-Print Registrations page:

All of the AAP registrations can be viewed on this page and they may be filtered by site and status.  These are the registration statuses and their meanings:

| Status | Explanation |
| --- | --- |
| Active | This is the normal status for an AAP registration, which means that this AAP instance is ready to process documents. This status does not necessarily indicate that the AAP instance is running at the moment; an AAP instance may be shut down for a period, but still be in the “Active” status. |
| Inactive | This status indicates that the AAP registration is not currently active for processing documents. If CNF #3841 “Auto-Print Require Admin Approval” is set to “Yes”, then new AAP registrations are set to “Inactive” until an admin sets them to “Active” from the Admin link on this page. |
| Expired | An AAP registration is set to this status if it has not had any activity for the period of time specified in CNF #4636 “AAP Inactivity Expire Period (Hrs)”, or else if it is manually set to this status from the Admin link on this page. If an AAP registration is in this status, then it is prevented from logging in unless CNF #4637 “Auto Activate Expired AAP” is set to “True”. |

The “Last Activity” column shows the last time the AAP updated its registration.  While an AAP instance is running, it updates its registration continuously every time it queries for new documents to process.  So this column can be used to determine which AAP instances are currently running and which are idle.

The document processing configuration for an AAP instance is maintained in the LabWorks database with the registration, including which sites the AAP runs for, which document types it processes, etc.  This central configuration allows an AAP instance to be managed within LabWorks itself.  The BGP, on the other hand, keeps this configuration on the client machine in its local config file, making administration more difficult.

The Admin link is used to administer an AAP registration.  This is a screen shot of the Admin dialog:

The function of this dialog, which can also be accessed from the client machine where the AAP Auto-Printer is running, is fully explained in part II of this document.

The “Show Log” link on the Auto-Print Registrations page can be used to view the AAP log for an AAP registration.  The log data is primarily useful for Atlas support personnel to assist in troubleshooting.

## Auto-Print Result Report Status Monitor Page

The Auto-Print Result Report Status Monitor page shows the date and time of the last item Auto-Printed, and the number of pending items to Auto-Print per site.  A screen shot of this page is shown below:

# Scheduling Auto-Printing Tasks

The Auto-Printing job can be scheduled to run at regular intervals as desired by creating recurring tasks via the Task Scheduler. To set up these tasks, log in to the target site and go to the System menu > Task Scheduler page and follow these steps:

Click “New Scheduled Task.”

In the Task Details window, under Task Type, select “Print Reports” or “Print Final Reports Only” as desired.

Select the Task Frequency (One Time, Hourly, Daily, Weekly, Weekdays, Weekends, Monthly, Yearly).

Location, Number of Copies, and Select Lab can usually be ignored unless otherwise desired.

Enter the Time/Day/Date as required based on the selected Frequency. Enter the time using a 24-hour clock (i.e., use 14:30 for 2:30 pm).

Click “Save.”

Part II: Client-Side Auto-Print Configuration

# Setting the Auto-Printer Executable

The BGP and AAP are not compatible when both are being run for the same LabWorks site. Configuration parameter #3844 “Auto Printer Type” determines whether the BGP or AAP is used for the Auto-Printer client program.

The default value of this config is “AAP”.  If the BGP attempts to process documents when this config has been set to “AAP”, then a prompt will appear asking the user to upgrade their Auto-Printer client program to the AAP.  If the AAP attempts to process documents for a site where this config has been set to “BGP”, then the AAP will skip this site and move on to the next site.

It is possible to have both the BGP and AAP running on the same LabWorks system, as long as they are not both processing documents for any of the same sites.  This could be required if a facility with many BGP systems is upgrading to the AAP, but it is desired to upgrade them site-by-site, rather than all at once.

# Atlas Auto-Printer (AAP) Configuration

This section details the configuration of the AAP Auto-Print client executable.

## Internet Explorer (IE) Browser Configuration

The AAP uses a hidden IE browser to download and render LabWorks reports for printing.  The AAP is compatible with IE versions 6-10.  This section contains the required IE configuration needed for AAP Auto-Printing.

### IE Browser Settings

Atlas has a document detailing optimal IE browser settings for use with LabWorks available here:

https://support.atlasdev.com/ClientDocs/OptimalAtlasLabWorksInternetExplorerSettings.docThese settings also apply to AAP Auto-Printing.

### Print Control Requirement

In order to print documents rendered in IE without prompting the user with a printer selection dialog, a print control must be installed to enable silent printing.  A print control appropriate for the version of IE is normally installed when a user logs into LabWorks for the first time on a PC.  To verify that a print control has been properly installed on the PC where Auto-Print will be running, log into LabWorks manually and print a report.  If the report prints without a print dialog being displayed, then a print control has been properly installed.

#### Java Silent Printing Support

In LW version 16.0, the AAP was modified to support Java Silent Printing (JSP), as an alternative to using an ActiveX print control.  This feature is enabled by LW config 4643 “Enable Java Silent Printing”, when set to “Always”.  Unlike the ActiveX print controls used with LW, the JSP Java applet is not installed as an application or browser add-on; therefore, it does not appear within the list of Add-ons in the “Manager Add-ons” window of IE, and there is no prompt to install the JSP applet during the initial user login.  However, the user will be prompted during login whether the JSP applet should be run, as shown in the screen shot below.

To prevent from being repeatedly shown this prompt during each LW login, the user can click the checkbox “Always trust content from this publisher”, and the JSP applet will be run automatically from then on.

For the AAP to be run for a site(s) with JSP enabled, then the prompt to run the JSP applet with “Always trust” checked will need to be accepted by the Windows user running the AAP, as shown above.  If that user has ever logged into a site in LW and accepted the prompt, that will satisfy this requirement for the AAP as well.  If the Windows user has never accepted this prompt previously, then when the AAP is run for the first time and the AAP user logs in, they will be presented with this prompt then.

## Installing the AAP Client

This section discusses how to install the AAP on a client PC.  There are two ways that the AAP is normally installed:  If the Auto-Printer client is being newly installed on the PC, then it is installed by an AAP MSI file; on the other hand, if the BGP was already installed on the PC, and it is being upgraded to the AAP, then the installation can be performed by the AAP Auto Updater.

### .NET Framework Requirement

The AAP requires that Microsoft .NET Framework version 2.0 be installed on the client PC.  The AAP MSI will check for the required version when it is run, and prompt the user to install it if it is not found.

If upgrading from the BGP using the AAP Auto-Updater, then the required .NET Framework version should be installed prior to upgrade.  The currently installed versions can be checked ahead of time by typing this command into an IE browser window:  javascript:alert(navigator.userAgent).  A dialog similar to the following will be displayed:

The required version is indicated by the string “.NET CLR 2.0.50727”.  If this is not present, then version 2.0 can be downloaded and installed via this link:

http://www.microsoft.com/downloads/details.aspx?FamilyID=0856EACB-4362-4B0D-8EDD-AAB15C5E04F5&displaylang=en

### Disabling User Account Control (UAC) on Windows Vista/7

User Account Control (UAC) is a security component that creates access tokens in Windows. To install Auto-Printer you must disable UAC if using a Windows Vista or Windows 7 OS.

To disable UAC, follow these steps:

- Click the Start menu and then click Control Panel.

- In the Control Panel, click User Accounts.

- In the User Accounts window, click User Accounts.

- In the User Accounts task window, click “Turn User Account Control on or off.”

- If UAC is currently configured in Admin Approval Mode, the User Account Control message appears. Click Continue.

- Clear the “Use User Account Control (UAC) to help protect your computer” check box and then click OK.

- Restart the computer to apply the changes. Install Auto-Printer after rebooting.

### Installing AAP with an MSI File

For installing the AAP on PCs with no prior Auto-Printer version installed, use an AAP MSI file.  Normally, the AAP is installed as a Desktop application, and is started when the user that the AAP has been installed for logs in.

This document covers how to install the AAP as a Desktop application.

#### Running the MSI

The AAP MSI file should be installed in a well-known location on the LabWorks web server, typically with a URL such as the following:

https://LABWORKSURL/implementation/AAPSetup.msi

(Replace LABWORKSURL with the URL of the LabWorks web server.)

When the download window appears, click on “Run” to begin the installation.  The installation dialog wizard will appear:

Click “Next” and the program will prompt for the installation folder:

The recommended path for installing AAP is shown, “C:\Atlas\AutoPrinting\”.  Another directory may be chosen instead, but the user that will be running the AAP must have permission to write and delete files in whatever directory is chosen.  The AAP should be installed just for the one user that will normally be logged in on the PC, to avoid multiple instances of the AAP being started if multiple users log in.  So, select the “Just me” option to install the AAP just for the current user.

Click “Next” and the following will be displayed:

Click “Next” to continue.  After installation completes, the following will be displayed:

Click “Close” and the installation is complete.

#### Starting the AAP

AAP does not launch automatically upon completion of the installation process. It must be started manually the first time it is to be run. The AAP MSI will create a shortcut to the AAP executable in the Start Menu -> All Programs -> Startup folder, so that the AAP is started automatically when the user that installed the AAP logs back in to the machine. To run AAP for the initial setup, click on the Windows Start button, then All Programs > Startup > AAP.exe. This will open the user authentication window. Enter the user name and password created in the “Auto-Printer User Login Configuration” section above, then click Login.

Upon successful login, click on the desired site and click Login. The AP logo (a green square with black letters) should now appear in the system tray. Hover the cursor over the system tray icon to confirm that AAP is running.

### Upgrading from the BGP with the AAP Auto Updater

If upgrading to the AAP on a PC with the BGP already installed, then the upgrade should be performed using the AAP Auto Updater.  This program will download and install the AAP files, replacing the previously installed BGP.  The Updater will also scan the BGP config file for the user name and password used by the BGP, as well as which sites it printed for, and use this information to log the new AAP instance into LabWorks, creating a new AAP Registration.  The new AAP is then started automatically.

#### Invoking the Auto Update Process

The AAP Auto-Updater must be run by a user with Administrative privileges.

Note:	The BGP should not be stopped prior to upgrading to the AAP via the AAP Auto Updater.  The BGP must be running for the Auto-Updater to be invoked.

Configuration parameter #3844 “Auto Printer Type” controls whether the BGP or the AAP is used for Auto-Printing; this config may be set on a per-site basis.  When this configuration parameter is set to AAP for any site currently being processed by a BGP Auto-Printer, the following dialog will be displayed on the PC running that BGP (there may be a delay of up to a few minutes before this appears):

The steps to upgrade the BGP to AAP are listed on the dialog.  The most important step to observe is step 1, to right-click on the Update Auto Printer link -- a regular click will not invoke the Auto-Updater directly!

After right-clicking and selecting “Save Target As…”, a Save As dialog box should appear:

It is suggested to save the file to the desktop.  After downloading, a Download complete dialog should display:

Click Close.  It is not necessary to close the Update Auto Printer dialog if it is still shown.

Locate the AAPUpdater.exe file that was just downloaded, and run it by double-clicking on the file.  If an “Open File – Security Warning” dialog displays, click “Run”.

The AAP Auto Updater will now download and install the AAP files, and start the new AAP Auto-Printer:

When the Auto Printer Updater box appears, you may receive the below Microsoft .NET security warning message:

If this appears, open a windows command prompt, and type the below.  This should be executed in one line. This will give the AAPUpdater full trust .net security.

%windir%\Microsoft.NET\Framework\v1.1.4322\CasPol.exe -pp off -remgroup "AAPUpdater.exe"
%windir%\Microsoft.NET\Framework\v1.1.4322\CasPol.exe -pp off -machine -addgroup 1 -url "\*" FullTrust -name "AAPUpdater.exe"

If there is no 1.1 framework installed, you will need to use 2.0 framework, as following:

%windir%\Microsoft.NET\Framework\v2.0.50727\CasPol.exe -pp off -remgroup "AAPUpdater.exe"
%windir%\Microsoft.NET\Framework\v2.0.50727\CasPol.exe -pp off -machine -addgroup 1 -url "\*" FullTrust -name "AAPUpdater.exe"

After the upgrade is complete, a new “AP” icon should appear in the system tray (this may take a couple of minutes).  Right-clicking on the AP icon in the system tray will offer an option to Show the AAP.  This can be used to verify the new AAP has logged in correctly:

After verifying that this page is displayed, click “Hide” to minimize the AAP to the system tray.

The upgrade from BGP to AAP is complete.  Whenever the user logs on Windows, the AAP will automatically be started.

## Configuring the AAP

This section discusses how the AAP document processing is configured for an AAP Registration, via the AAP Admin Dialog.  This dialog can be accessed on the AAP client workstation by right-clicking on the AP icon in the system tray, and selecting “Admin”; or in LabWorks from the CCC, Auto-Printing -> Auto-Print Registrations page, by selecting the AAP Registration and then clicking the “Admin” link.

### The AAP Admin Dialog

#### Selecting Sites and Locations to Process

Use the Sites tab of the AAP Admin Dialog to control which sites the AAP will process documents for:

The dialog will show all of the sites that the LabWorks user that logged in the AAP Registration has access to.  Select the sites that the AAP should process documents for by selecting them individually, or select all sites using the “Select All Sites” radio button.

For sites that have multiple locations, the AAP can be configured to process documents for only specific locations.  Do this by clicking on the site in the grid, then clicking the “Set Locations” link at the bottom of the dialog.  The following dialog will display:

Select the specific locations that the AAP should process for, or use the “All Locations” check box to select them all.  If specific locations have been chosen, then this will be indicated by a “Y” appearing in the Location Set column of the AAP Admin Dialog:

Click “OK” to save any changes made via this dialog or click “Cancel” to discard them.  After clicking “OK,” the changes will take effect the next time the AAP is refreshed.  If the changes were made from the AAP client PC, then the AAP will automatically be refreshed after saving.

#### Selecting Document Types to Process

Use the “Document Types” tab of the AAP Admin dialog to control which document types the AAP will process:

Note:	The “Type Override” drop-down will only be shown for Lab Admin users.  A Type Override will normally only be set by a Lab Admin in the Command and Control Center. These are document types that require special processing by the AAP, and so are excluded from the normal document categories. An AAP that processes a Type Override document type will normally be installed to run as a service on the LabWorks Central Server.

Select the types of documents that should be processed by the AAP by selecting them individually, or select them all using the “Select All Types” radio button.

#### LabWorks Document Types

The LabWorks documents that are included in each Document Type category are listed below:

Result Documents

Cumulative Report

Delta Report

Exception Report

Results Report

Report PDF Snapshot

Print PDF

Summary Report

Order Documents

ABN

Print Label

Manifest

Requisition

Auto-Faxing Documents

Fax Report

Note:	Auto-Faxing requires a separate proposal and additional setup

Miscellaneous Documents

Custom Request

Cancel Test

Generic

Print File

## Monitoring the AAP Client

The status of a running AAP can be monitored via the AAP viewer window.

### Showing the AAP Viewer Window

Open the AAP Viewer by right-clicking on the AP icon in the system tray, and selecting Show:

The viewer shows information that can assist in troubleshooting.  The In-Bound and Out-Bound Message boxes show the messages being passed between the AAP.exe executable and the IE browser window it creates.  The Activity Log is a real-time log of what the AAP is doing, with the most recent activity on top.  The buttons allow access to the same functions as the AP context menu, and are described below:

| Button | Description |
| --- | --- |
| Admin | This opens the AAP Admin Dialog, which was described above. |
| Refresh | This causes the AAP to log itself out and log back in again, reloading its configuration. This is performed automatically after making any configuration changes in the AAP Admin Dialog. |
| Pause | This will cause the AAP to stop processing documents. This button will also change to Resume, which allows processing to be started again. |
| Hide | This hides the AAP viewer (minimizes it to the system tray). |
| Exit | This stops the AAP. |
| Show Printers | This shows a list of printers on the current machine. |
| Debug | This is used by Atlas Development personnel only. |

## The AAP Auto Updater

The AAP Auto Updater is a program to simplify the process of upgrading the AAP client software on a PC running the AAP.  The Updater will download the new AAP client executables and restart the AAP with the new files.  Also, the previous AAP Registration is saved and carried forward after the upgrade.

The AAP Auto Updater can also be used to upgrade an existing BGP Auto-Printer to the AAP; this was discussed in the previous section on installing the AAP Client.

Running the Auto Updater does not require Administrative privileges on the machine being upgraded, and can be performed by the Windows user normally used to run Auto-Printing.

### When to Update the AAP

AAP Updates should not be considered mandatory when new LW Maintenance Releases are applied to client environments, unless specific auto-printer client issues are being resolved with the update, which have been problematic for the client.  Updating the auto-printer client in these cases can be suppressed via config 3849 “Auto-Printer Executable Version”, described in the next section.

### Updating the AAP client is recommended during major LW version upgrades.Upgrading the AAP to a new Version

Configuration parameter #3849 “Auto-Printer Executable Version” can be used to set the required version of the AAP.  Atlas will set CNF 3849 to the appropriate version during an upgrade.  This may not match the LabWorks version.  Whenever Atlas provides a newer AAP.MSI, Atlas will advise you of the version that is needed for CNF 3849 (at the site level only) in order to trigger that particular client to update to the new AAP version.

While the AAP client executable is running, it will periodically check its version number against the value of CNF #3849.  If the AAP finds that CNF #3849 specifies a higher version number than its current version, then the AAP Auto-Updater will be invoked to install the new version.

#### CNF #3849 can be set on a per site basis, to start the AAP Update process one site at a time; or, it can be set at the environment level to upgrade all sites at once. After CNF #3849 has been set to the new AAP version, the AAP Auto-Updater will begin. AAP Auto Updater – Prompted Mode

When configuration parameter #4903 “AAP Silent Updater” is set to False, or when the currently running AAP version does not support the silent Updater, then the following dialog will appear after CNF #3849 has been set to the new AAP version (there may be a delay of up to a few minutes before this appears):

The steps to upgrade the AAP are listed on the dialog.  The most important step to observe is step 1, to right-click on the Update Auto Printer link -- a regular click will not invoke the Auto-Updater directly!

After right-clicking and selecting “Save Target As…”, a Save As dialog box should appear:

It is suggested that the file be saved to the Desktop.  Click “Save” and a Download Complete dialog will display:

Click “Close” after the download completes.  It is not necessary to close the Update Auto Printer dialog.

Locate the AAPUpdater.exe file where it was saved, and run it by double-clicking on the file icon.  If an Open File – Security Warning displays, click “Run.”

The AAP Updater will stop the AAP, download and install the new AAP files, and start up the new AAP version:

After the upgrade is complete, a new “AP” icon should appear in the system tray. (Initially, two “AP” icons may appear – hover the mouse pointer over them both to force a refresh.)  Right-clicking on the AP icon in the system tray will offer an option to Show the AAP.  This can be used to verify the new AAP has logged in correctly:

Click Hide to minimize the AAP back to the system tray.  The AAP Auto Update process is complete.